## Directives for Swedish Intensiv
Directives for Swedish Intensive Care - Yearly report 2026 - Category III
[5 empty] | Meets requirements according to SFAI |  |  | Does not meet SHOULD requirements according to SFAI |  |  | Does not meet requirements according to SFAI
1. Which ICU category does the unit belong to?
Unit | 1 | 2a | 2b | 3 | 4 | 5.1 | 5.2 | 5.3 | 6 / 7 | 8.1 | 8.2 | 8.3 | 8.4
K Solna BIVA | III | Yes | Yes | Yes (1) | Yes | Yes (EDIC) | Yes | No | 6 / 2 | 0.67 | 0.67 | 0.67 | 2.33 | 2. Does the unit register data for all the episodes of care according to the SIR basic data set and the data required for all the quality indicators?
K Solna IVA | III | Yes | Yes | Yes (1) | Yes | Yes (EDIC) | Yes | Yes | 18 / 5 | 0.39 | 0.89 | 0.56 | 2.11 | 2a. Answer reported by the unit
Karlskrona TIVA | III | Yes | Yes | No | Yes | Yes (>2 year) | No | No | 2 / 1 | 1.5 | 8 | 3.5 | 13 | 2b. Answer calculated by SIR, based on the submitted data (The reason why 2b was set to a "No")
Linköping NIVA | III | Yes | Yes | Yes (1) | Yes | Yes (<2 year) | No | No | 6 / 2 | 0.33 | 0.67 | 0.83 | 2.17
Linköping TIVA | III | Yes | No (Uppfyller ej krav för: SAPS3, Komplikationer vårdtyp IVA, Behandlingsstrategi vårdtyp IVA, Behandlingsstrategi vårdtyp TIVA) | Yes (3) | Yes | Yes (EDIC) | Yes | Yes | 6 / 2 | 0.5 | 0.67 | 0.5 | 1.83 | 3. Does the unit have hospital-based anesthesia and intensive care on-call services?
Örebro IVA | III | Yes | Yes | Yes (2) | Yes | Yes (EDIC) | Yes | Yes | 8 / 1 | 0.25 | 0.62 | 0.62 | 1.75 | 3.1. Yes with minimum expertise of
Örebro TIVA | III | Yes | No (Uppfyller ej krav för: Komplikationer vårdtyp IVA, Komplikationer vårdtyp TIVA, Behandlingsstrategi vårdtyp IVA, Behandlingsstrategi vårdtyp TIVA) | Yes (2) | Yes | Yes (>2 year) | No | Yes | 6 / 1 | 0.17 | 0.67 | 0.67 | 1.67 | 3.1.1. Specialist in anesthesia and intensive care
SU BIVA | III | Yes | Yes | Yes (2) | Yes | Yes (EDIC) | Yes | No | 16 / 4 | 0.25 | 0.31 | 0.31 | 1.12 | 3.1.2. Resident in anesthesia and intensive care with less than 1 year left to specialist competence, at least 6 months of intensive care training and access to to supervision from another hospital-based on-call service that is specialist in anesthesia and intensive care
SU CIVA | III | Yes | Yes | Yes (1) | Yes | Yes (EDIC) | Yes | Yes | 18 / 1 | 0.28 | 0.61 | 0.5 | 1.61 | 3.1.3. Resident in anesthesia and intensive care
SU Mölndal | III | Yes | Yes | Yes (3) | Yes | Yes (EDIC) | Yes | No | 5 / 0 | 0.2 | 0.4 | 0.6 | 1.6 | 3.1.4. Hospital-based on-call service by a licensed physician but not meeting criteria above
SU TIVA | III | No | Yes | Yes (2) | Yes | Yes (>2 year) | No | Yes | 12 / 1 | 0.33 | 0.67 | 0.58 | 1.75 | 3.1.5. Hospital-based on call service that does not meet any of the criteria above
SUS Lund BIVA | III | No | Yes | Yes (1) | No (2) | Yes (<2 year) | No | No | 5 / 3 | 0.4 | 0.8 | 0.8 | 2 | 3.2. No, but there is a physician on call on-call service
SUS Lund IVA | III | Yes | Yes | Yes (1) | Yes | Yes (EDIC) | Yes | Yes | 8 / 3 | 0.5 | 0.62 | 0.88 | 2.38 | 4. Do all the nurses working with intensive care in the unit, a specialist training in intensive care nursing?
SUS Lund NIVA | III | No | No (Uppfyller ej krav för: SAPS3, Komplikationer vårdtyp IVA, Behandlingsstrategi vårdtyp IVA) | Yes (1) | No (1) | Yes (EDIC) | Yes | Yes | 6 / 1 | 0.33 | 0.83 | 1.33 | 2.67 | 4.1. Yes
SUS Lund TIVA | III | No | No (Uppfyller ej krav för: SAPS3, PIM3 vårdtyp TIVA, Higgins, Komplikationer vårdtyp IVA, Komplikationer vårdtyp TIVA, Behandlingsstrategi vårdtyp IVA, Behandlingsstrategi vårdtyp TIVA) | Yes (2) | No (1) | Yes (EDIC) | Yes | Yes | 18 / 2 | 0.22 | 0.56 | 0.56 | 1.44 | 4.2. No
SUS Malmö IVA | III | Yes | Yes | Yes (1) | Yes | Yes (EDIC) | Yes | Yes | 10 / 10 | 0.5 | 0.8 | 0.9 | 2.4 | 4.2.1. For an individual shift, what is the percentage of nurses who have a specialist training in intensive care nursing?
Umeå IVA | III | Yes | Yes | Yes (2) | Yes | Yes (>2 year) | No | Yes | 10 / 1 | 0.5 | 0.7 | 0.6 | 2.1 | 4.2.1.1. At least half
Umeå TIVA | III | Yes | No (Uppfyller ej krav för: Behandlingsstrategi vårdtyp IVA, Behandlingsstrategi vårdtyp TIVA) | Yes (4) | Yes | Yes (<2 year) | No | No | 6 / 0 | 0.17 | 1 | 0.5 | 1.83 | 4.2.1.2. Less than half
Uppsala BIVA | III | Yes | No (Uppfyller ej krav för: Behandlingsstrategi vårdtyp IVA) | Yes (1) | Yes | Yes (>2 year) | Yes | No | 4 / 1 | 0.5 | 0.75 | 1 | 2.5 | 4.2.1.3. Not all but the rest are currently participating in specialist training
Uppsala BRIVA | III | Yes | No (Uppfyller ej krav för: Behandlingsstrategi vårdtyp IVA) | Yes (1) | Yes | Yes (>2 year) | No | No | 4 / 4 | 0.5 | 0.5 | 1.5 | 2.75
Uppsala CIVA | III | Yes | Yes | Yes (1) | Yes | Yes (>2 year) | Yes | Yes | 8 / 3 | 0.38 | 0.75 | 0.75 | 2.12 | 5. The competence of doctors with medical management responsibility for the department?
Uppsala NIVA | III | Yes | No (Uppfyller ej krav för: SAPS3, PIM3 vårdtyp IVA) | Yes (1) | Yes | Yes (>2 year) | Yes | Yes | 8 / 1 | 0.38 | 0.62 | 0.75 | 2 | 5.1. Specialist in anesthesia and intensive care
Uppsala TIVA | III | Yes | No (Uppfyller ej krav för: PIM3 vårdtyp IVA) | Yes (2) | Yes | Yes (<2 year) | No | Yes | 6 / 0 | 0.33 | 0.67 | 0.67 | 2 | 5.1.1. No
*Summary | [13 empty] | 5.1.2. Yes
Category I | [8 empty] | - | - | - | - | - | 5.1.2.1 Specialist in anesthesia and intensive care with continuous service in intensive care > 2 years? | bar: 1 to 5.3
Category II | [8 empty] | - | - | - | - | - | 5.1.2.1.1. Yes, including EDIC 1 and 2 | bar: 1 to 5.3
Category III | 100% | 83% | 61% | 52% | 87% | 48% | 61% | 100% | 9 / 2 | 83% | 0.73 | 0.69 | 91% | 5.1.2.1.2. Yes, but not EDIC 1 och 2
5.1.2.1.3. No, no continuous service in intensive care > 2 years
5.2. 2-year education in intensive care and approved degree EDIC 1 and 2?
5.3. Scientific qualification corresponding to at least a doctoral degree?
6. How many available ICU beds are there in the unit? (1-40)
7. How many isolation rooms does the unit have? (1-40)
8. Staffing requirements on a normal day during office hours?
8.1. Intensivists with specialty training, total per care place (for Category I applies 1/unit for fulfillment)
8.2. Number of nurses, total per care place
8.3. Number of assistant nurses, total per care place
8.4. All clinically active staff including all doctors, total per care place